## April
Accessible Door Audit Downtown Campus - April 2023 | [5 empty] | Audit as of:
Location | Operational |  | Type | Comments | Check By | Initials: AD
| Yes | No |  |  |  | 2023-04-01
SCCA Basement
Lower Level Men's washroom | X |  | push | Washroom entrance | AD
Lower Level Women's washroom | X |  | push | Washroom entrance | AD
Lower Level Elevator Lobby | X |  | push | lobby door into hallway | AD
Room #B009 | X |  | push | Classroom door entrance and exit | AD
SCCA First-Floor
Ferry St/ Box Office exit, entrance |  | X | push | Exterior (On but not working) | AD
Box office lobby into Student Service Lobby | X |  | push | Interior Door - middle | AD
Student Services Rm. 127 | X |  | push | Exterior door of SS Rm.127 | AD
Student Services Test Room A | X |  | push | Interior | AD
Student Services Test Room B/ Back room | X |  | push | Interior | AD
Front entrance /exit - Gallery Hall, Riverside Dr | X |  | push | Exterior door scca | AD
SCCA Second-Floor
Elevator #5 lobby into kiosk area | X |  | push | Lobby door - glass | AD
SCCA Third-Floor
Elevator #2 and #3 lobby to offices | X |  | push | Glass door | AD
SCC Fourth-Floor
Elevator #2 and #3 lobby into Rm.411 lobby | X |  | push | Glass door | AD
Elevator #2 and #3 lobby Admin lobby | X |  | push | Glass door | AD
Admin entrance and exit | X |  | push | wooden door admin exterior | AD
TD Student Centre First-Floor
Main entrance door | X |  | push | exterior door | JT
Media Plex First-Floor
Main entrance door | X |  | push | exterior door | SH
1 Riverside Dr (former Zeklmen School of Bussiness)
Door beside the security office Rm.11 | X |  | push | interior - classroom door | JS
Admin block Room 12 | X |  | push | interior door | JS
Universal washroom W1 | X |  | push | interior door | JS
333 Riverside Dr
Men's Washroom Rm 211 |  | X | push | interior (Conflicts with door-lock) | RB
Women's Washroom Rm 213 |  | X | push | interior (Conflicts with door-lock) | RB
Hallway door by 204, 210, 212 |  |  | push | interior | RB
Hallway door by 205, 206, 207, 208 |  |  | push | interior | RB

## June
Accessible Door Audit Downtown Campus - June 2023 | [5 empty] | Audit as of:
Location | Operational |  | Type | Comments | Check By | Initials: AD
| Yes | No |  |  |  | 2023-06-02
SCCA Basement
Lower Level Men's washroom | X |  | push | Washroom entrance | PN
Lower Level Women's washroom | X |  | push | Washroom entrance | PN
Lower Level Elevator Lobby | X |  | push | lobby door into hallway | PN
Room #B009 | X |  | push | Classroom door entrance and exit | PN
SCCA First-Floor
Ferry St/ Box Office exit, entrance | X |  | push |  | PN
Box office lobby into Student Service Lobby | X |  | push | Interior Door - middle | PN
Student Services Rm. 127 | X |  | push | Exterior door of SS Rm.127 | PN
Student Services Test Room A | X |  | push | Interior | PN
Student Services Test Room B/ Back room | X |  | push | Interior | PN
Front entrance /exit - Gallery Hall, Riverside Dr | X |  | push | Exterior door scca | PN
SCCA Second-Floor
Elevator #5 lobby into kiosk area | X |  | push | Lobby door - glass | PN
SCCA Third-Floor
Elevator #2 and #3 lobby to offices | X |  | push | Glass door | PN
SCC Fourth-Floor
Elevator #2 and #3 lobby into Rm.411 lobby | X |  | push | Glass door | PN
Elevator #2 and #3 lobby Admin lobby | X |  | push | Glass door | PN
Admin entrance and exit | X |  | push | wooden door admin exterior | PN
TD Student Centre First-Floor
Main entrance door | X |  | push | exterior door - push bar not full functionally need to press really hard for it to work | JB
Media Plex First-Floor
Main entrance door | X |  | push | exterior door | CB
1 Riverside Dr (former Zeklmen School of Bussiness)
Door beside the security office Rm.11 | X |  | push | interior - classroom door | JS
Admin block Room 12 | X |  | push | interior door | JS
Universal washroom W1 | X |  | push | interior door | JS
333 Riverside Dr
Men's Washroom Rm 211 |  | X | push | Interior Button is in the security office | RB
Women's Washroom Rm 213 | X |  | push |  | RB
Hallway door by 204, 210, 212 |  | X | push | interior | RB
Hallway door by 205, 206, 207, 208 |  | X | push | interior | RB

## July
Accessible Door Audit Downtown Campus - July 2023 | [5 empty] | Audit as of:
Location | Operational |  | Type | Comments | Check By | Initials: AD
| Yes | No |  |  |  | 2023-07-04
SCCA Basement
Lower Level Men's washroom | X |  | push | Washroom entrance | PN
Lower Level Women's washroom | X |  | push | Washroom entrance | PN
Lower Level Elevator Lobby | X |  | push | lobby door into hallway | PN
Room #B009 | X |  | push | Classroom door entrance and exit | PN
SCCA First-Floor
Ferry St/ Box Office exit, entrance | X |  | push |  | PN
Box office lobby into Student Service Lobby | X |  | push | Interior Door - middle | PN
Student Services Rm. 127 | X |  | push | Exterior door of SS Rm.127 | PN
Student Services Test Room A | X |  | push | Interior | PN
Student Services Test Room B/ Back room | X |  | push | Interior | PN
Front entrance /exit - Gallery Hall, Riverside Dr | X |  | push | Exterior door scca | PN
SCCA Second-Floor
Elevator #5 lobby into kiosk area | X |  | push | Lobby door - glass | PN
SCCA Third-Floor
Elevator #2 and #3 lobby to offices | X |  | push | Glass door | PN
SCC Fourth-Floor
Elevator #2 and #3 lobby into Rm.411 lobby | X |  | push | Glass door | PN
Elevator #2 and #3 lobby Admin lobby | X |  | push | Glass door | PN
Admin entrance and exit | X |  | push | wooden door admin exterior | PN
TD Student Centre First-Floor
Main entrance door | X |  | push | exterior door - push bar not full functionally need to press really hard for it to work | JB
Media Plex First-Floor
Main entrance door | X |  | push | exterior door | CB
1 Riverside Dr (former Zeklmen School of Bussiness)
Door beside the security office Rm.11 | X |  | push | interior - classroom door | JS
Admin block Room 12 | X |  | push | interior door | JS
Universal washroom W1 | X |  | push | interior door | JS
333 Riverside Dr
Men's Washroom Rm 211 |  | No | push | Interior Button is in the security office | RB
Women's Washroom Rm 213 | X |  | push |  | RB
Hallway door by 204, 210, 212 |  | No | push | interior | RB
Hallway door by 205, 206, 207, 208 |  | No | push | interior | RB

## August
Accessible Door Audit Downtown Campus - August 2023 | [5 empty] | Audit as of:
Location | Operational |  | Type | Comments | Check By | Initials: AD
| Yes | No |  |  |  | Aug 2/23
SCCA Basement
Lower Level Men's washroom | X |  | push | Washroom entrance | PN
Lower Level Women's washroom | X |  | push | Washroom entrance | PN
Lower Level Elevator Lobby | X |  | push | lobby door into hallway | PN
Room #B009 | X |  | push | Classroom door entrance and exit | PN
SCCA First-Floor
Ferry St/ Box Office exit, entrance | X |  | push |  | PN
Box office lobby into Student Service Lobby | X |  | push | Interior Door - middle | PN
Student Services Rm. 127 | X |  | push | Exterior door of SS Rm.127 | PN
Student Services Test Room A | X |  | push | Interior | PN
Student Services Test Room B/ Back room |  | X | push | Interior | PN
Front entrance /exit - Gallery Hall, Riverside Dr | X |  | push | Exterior door scca | PN
SCCA Second-Floor
Elevator #5 lobby into kiosk area | X |  | push | Lobby door - glass | PN
SCCA Third-Floor
Elevator #2 and #3 lobby to offices | X |  | push | Glass door | PN
SCC Fourth-Floor
Elevator #2 and #3 lobby into Rm.411 lobby | X |  | push | Glass door | PN
Elevator #2 and #3 lobby Admin lobby | X |  | push | Glass door | PN
Admin entrance and exit | X |  | push | wooden door admin exterior | PN
TD Student Centre First-Floor
Main entrance door | X |  | push | exterior door - push bar not full functionally need to press really hard for it to work | JB
Media Plex First-Floor
Main entrance door | X |  | push | exterior door | CB
1 Riverside Dr (former Zeklmen School of Bussiness)
Door beside the security office Rm.11 | X |  | push | interior - classroom door | JS
Admin block Room 12 | X |  | push | interior door | JS
Universal washroom W1 | X |  | push | interior door | JS
333 Riverside Dr
Men's Washroom Rm 211 | X |  | push |  | RB
Women's Washroom Rm 213 | X |  | push |  | RB
Hallway door by 204, 210, 212 |  | X | push | interior | RB
Hallway door by 205, 206, 207, 208 |  | X | push | interior | RB

## October
Accessible Door Audit Downtown Campus - October 2023 | [5 empty] | Audit as of: | 2023-09-11
Location | Operational |  | Type | Comments | Check By | Initials: Pa NU, Cody BAILEY, James BELCIK, Abaid PANDIT, Kainat QURESHI, Prince PRINCE
| Yes | No
SCCA Basement
Lower Level Men's washroom | X |  | push | Washroom entrance | PN
Lower Level Women's washroom | X |  | push | Washroom entrance | PN
Lower Level Elevator Lobby | X |  | push | lobby door into hallway | PN
Room #B009 | X |  | push | Classroom door entrance and exit | PN
SCCA First-Floor
Ferry St/ Box Office exit, entrance |  | X | push | Exterior | PN
Box office lobby into Student Service Lobby | X |  | push | Interior Door - middle | PN
Student Services Rm. 127 |  | X | push | Exterior door of SS Rm.127 | PN
Student Services Test Room A | X |  | push | Interior | PN
Student Services Test Room B/ Back room | X |  | push | Interior | PN
Front entrance /exit - Gallery Hall, Riverside Dr | X |  | push | Exterior door scca | PN
SCCA Second-Floor
Elevator #5 lobby into kiosk area | X |  | push | Lobby door - glass | PN
SCCA Third-Floor
Elevator #2 and #3 lobby to offices | X |  | push | Glass door | PN
SCC Fourth-Floor
Elevator #2 and #3 lobby into Rm.411 lobby | X |  | push | Glass door | PN
Elevator #2 and #3 lobby Admin lobby | X |  | push | Glass door | PN
Admin entrance and exit | X |  | push | wooden door admin exterior | PN
TD Student Centre First-Floor
Main entrance door | X |  | push | exterior door | JB
Media Plex First-Floor
Main entrance door | X |  | push | exterior door | CB
1 Riverside Dr (former Zeklmen School of Bussiness)
Door beside the security office Rm.11 | X |  | push | interior - classroom door | AP
Admin block Room 12 | X |  | push | interior door | AP
Universal washroom W1 | X |  | push | interior door | AP
333 Riverside Dr
Men's Washroom Rm# S2006A | X |  | push | interior | PP
Women's Washroom Rm# S2004A | X |  | push | interior | PP
Hallway door by 204, 210, 212 | X |  | push | interior | PP
Hallway door by 205, 206, 207, 208 | X |  | push | interior | PP
Pitt St Entrance Exterior |  | X |  |  | KQ
Pitt St Entrance Interior | X |  |  |  | KQ
Universal Washroom Rm# S1017 | X |  |  |  | KQ
Quiet Study Rm# S1013 |  | X |  |  | KQ

## November
Accessible Door Audit Downtown Campus - November 2023 | [5 empty] | Audit as of:
Location | Operational |  | Type | Comments | Check By | Initials:
| Yes | No
SCCA Basement
Lower Level Men's washroom |  |  | push | Washroom entrance | R.E | Rizwan Ehsan
Lower Level Women's washroom |  |  | push | Washroom entrance | R.E
Lower Level Elevator Lobby |  |  | push | lobby door into hallway | R.E
Room #B009 |  |  | push | Classroom door entrance and exit | R.E
SCCA First-Floor
Ferry St/ Box Office exit, entrance |  |  | push | Exterior | R.E
Box office lobby into Student Service Lobby |  |  | push | Interior Door - middle | R.E
Student Services Rm. 127 |  |  | push | Exterior door of SS Rm.127 | R.E
Student Services Test Room A |  |  | push | Interior | R.E
Student Services Test Room B/ Back room |  |  | push | Interior | R.E
Front entrance /exit - Gallery Hall, Riverside Dr |  |  | push | Exterior door scca | R.E
SCCA Second-Floor
Elevator #5 lobby into kiosk area |  |  | push | Lobby door - glass | R.E
SCCA Third-Floor
Elevator #2 and #3 lobby to offices |  |  | push | Glass door | R.E
SCC Fourth-Floor
Elevator #2 and #3 lobby into Rm.411 lobby |  |  | push | Glass door | R.E
Elevator #2 and #3 lobby Admin lobby |  |  | push | Glass door | R.E
Admin entrance and exit |  |  | push | wooden door admin exterior | R.E
TD Student Centre First-Floor
Main entrance door |  |  | push | exterior door | R.E
Media Plex First-Floor
Main entrance door |  |  | push | exterior door | R.E
1 Riverside Dr (former Zeklmen School of Bussiness)
Door beside the security office Rm.11 |  |  | push | interior - classroom door | R.E
Admin block Room 12 |  |  | push | interior door | R.E
Universal washroom W1 |  |  | push | interior door | R.E
333 Riverside Dr
Men's Washroom Rm# S2006A |  |  | push | interior | R. B | Bob Branton
Women's Washroom Rm# S2004A |  |  | push | interior | R. B
Hallway door by 204, 210, 212 |  |  | push | interior | R. B
Hallway door by 205, 206, 207, 208 |  |  | push | interior | R. B
Pitt St Entrance Exterior |  |  |  |  | R. B
Pitt St Entrance Interior |  |  |  |  | R. B
Universal Washroom Rm# S1017 |  |  |  |  | R. B
Quiet Study Rm# S1013 |  |  |  |  | R. B